As-built checklist

Refer to each example of a plumbing wastepipes as-built & an external drainage as-built.

A checklist of what would be required.

- Street address, lot & Deposit number

- Building consent number

- Practitioner details

- License number

- Means of compliance with the building code (Acceptable Solution / Verification Method or Alternative Solution)

- North arrow & relevant boundaries

- Clear measurements taken from building or relevant boundaries.

- Scale

- Location of pipework, soakage pits, inspection/testing openings e.t.c

- Size & type of soakage systems

- Size and location of vents

- Size, type, and gradient of pipework

- Bedding and backfill type

- Annotations on plans don’t have to be typed but must be legible