Domestic free-standing installation – Checklist
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Comments

‘Appliance Declaration

Have you checked the Gas Appliance Supplier
Declarations of Compliance Database

‘Appliance isolation valve

Does the appliance require an isolation valve?

‘Appliance test point (at
appliance]

Has the appliance test point been installed?

‘Appliance Regulator

15 the appliance regulator been set to the
correct operating pressure as per the
appliance data plate.

Hose Assembly & type (f used
as final connection)

Is the hose of the corract class type, correct
size, and length, not passing through wall,
floor etc.

Bayonet height
position/location

Is the bayonet connection been installed at
the correct height? ., approximately the.
same height as the cooker connection point?

Bayonet location

Is the bayonet connection within 150 mm of
the side of cooker?

Clearances to combustible
material

Do the side and back clearances compiy? L.,
is the burner 200 mm away from a
combustible surface?

Protection of combustible
materials

Does the installed protection comply? I there.
3 splashback installed?

Toughened Safety Glass used 2z
a splashback?.

Does the glass comply with AS/NZS 2208 and
is learly identified as toughened glass?

Cooker height vs bench height

Is the cooker 10mm above the height of the,
bench?

Rangshood clearance

Do all clearances comply?

Ventilation Is there adequate ventilation? Calcul
been carried out to verify?

‘Anti-tip device Has the anti-tp device been installed?

Restraint Is a separate restraint correctly installed?

(80% of the hose length)

‘Appliance support

Is the supporting floor structurally sound?

Electrical connection

Is the electrical connection hardwired?

LPG bottle locationfinstallation

Is the LPG bottle installation compliont?

PGinjectors

f using LPG has the appliance been converted
from NG to LPG? Has an identifying label
been attached to the appliance to identify
LPG s being used?

“Additional Manufactures
instructions

Have allthe additional manufacturers
requirements been met?

GasType

Is the gas type clearly Identified on the
appliance?





